## Residence Time
PROBE RESIDENCE TIME - Multiple Diameters
Site Name: | [11 empty] | Auditors: | [8 empty] | Date:
Booster pump flow = | [5 empty] | LPM |  | Pollutant
[10 empty] | Manifold to |  |  | Manifold to |  |  | Manifold to |  |  | Manifold to |  |  | Manifold to |  |  | Manifold to
|  |  |  | Probe |  |  | Manifold |  |  | Instrument |  |  | Instrument |  |  | Instrument |  |  | Instrument |  |  | Instrument |  |  | Instrument
Material |  |  |  | Teflon |  |  | Glass |  |  | Teflon |  |  | Teflon |  |  | Teflon |  |  | Teflon |  |  | Teflon |  |  | Teflon
[10 empty] | T1 | T2 | T3
ID (mm)
[10 empty] | 0 |  | * | 0 |  | * | 0 |  | * | 0 |  | * | 0 |  | * | 0 |  | *
Length (m)
[10 empty] | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | *
Flow (lpm)
Time |  |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | * | #DIV/0! |  | *
|  |  |  | Total Residence Time = | [5 empty] | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
|  | Residence Time Calculation = | [6 empty] | 3.14(ID2) x LENGTH x 0.015 | [5 empty] | = |  | 3.14 * radius2 (mm) * LENGTH (m) * 60 (sec/min)
[9 empty] | FLOW | [7 empty] | FLOW (lpm) * 1000
|  | Multiple Tubing Diameters Calculation* | [6 empty] | = | ((tubing_2 I.D./tubing_1 I.D.)2 * tubing_2 length) + ((tubing_3 I.D./tubing_1 I.D.)2 * tubing_3 length) + tubing_1 length
*used for entry into the Audit Information System, where different diameters of tubing are present
Common Sample Line Diameters | [23 empty] | Manifolds
Outside Diameter (in.) |  |  | 1/8" |  | 3/16" |  | 1/4" |  | 1/4" | 5/16" |  | 5/16" |  | 3/8" |  | 3/8" |  | 1/2" |  | 1/2" |  | O.D. (in.) |  | 1.25" |  | 2.0"
Wall Thickness (in.) * |  |  | .030" |  | .030" |  | .030" |  | .062" | .030" |  | .062" |  | .030" |  | .062" |  | .030" |  | .062" |  | W.T. (in.) |  | .25" |  | .25"
Inside Diameter (mm) |  |  | 1.6 |  | 3.2 |  | 4.8 |  | 3.2 | 6.4 |  | 4.8 |  | 7.9 |  | 6.4 |  | 11.1 |  | 9.5 |  | I.D. (mm) |  | 25.4 |  | 44.5
[6 empty] | * "thin wall" is typically = 0.030", while "thick wall" is typically = 0.062" | [15 empty] | Length (m) |  | 0.25 |  | 0.3
Data recorded and verified by: